| STERILIZATION PROCESSES | Yes | No | N/A | All critical instruments are steam-sterilized unless another form of sterilization is indicated by manufacturer’s guidelines. |
| --- | --- | --- | --- | --- |
| Off-site processing: |  |  |  |  |
| Pre-treats On-site |  |  |  |  |
| Secured in Container with Bio-Hazard Labeling |  |  |  |  |
| Separate Containers Used to bring Dirty Instruments Out and Sterilized Instruments Back In |  |  |  |  |
| Upon Return, Staff Verifies Hinged-instruments in Open Position and Pouches Packed Appropriately |  |  |  |  |
| Peel Pouches are Stored Appropriately |  |  |  |  |
| Staff Checks for Compromise at Point-of-use |  |  |  |  |
| On-site processing: |  |  |  |  |
| Appropriate PPE |  |  |  |  |
| Disinfection Solution Used per Manufacturer’s Guidelines |  |  |  |  |
| Avoids Cross-Contamination |  |  |  |  |
| Peel Pouches Packed Appropriately |  |  |  |  |
| Hinged-instruments in Open Position |  |  |  |  |
| Evidence of Chemical Indicators |  |  |  |  |
| Following Manufacturer’s Guidelines/Expiration Dates are noted on Peel Pouches (as appropriate) |  |  |  |  |
| Autoclave Cleaning Log in Use |  |  |  |  |
| Load logs in Use |  |  |  |  |
| Biological Indicators in Use (at least weekly) |  |  |  |  |
| Peel pouches are stored Appropriately |  |  |  |  |
| Staff Checks for Compromise at Point-of-use |  |  |  |  |
| Equipment Hazard Recall Process/Staff Knowledge |  |  |  |  |

| SPECIALTY SERVICES | Std | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| Radiology Services |  |  |  |  |  |
| Radiology Certificates/ Licenses Posted and In-date |  |  |  |  |  |
| Radiology area with Signage / Lead Doors as Required |  |  |  |  |  |
| Evidence of Staff Dosimeter Badges and Reports |  |  |  |  |  |
| Evidence of Patient Protection Shields |  |  |  |  |  |