## Specific Facility Issues
SFM: Specific Facility Management Issues
Assessment of the current status projected over a minimum of the next 30 days.
Determine if the facility department is prepared to accomplish the following
# | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
SFM1 | Were regulatory compliance issues altered?
Waiver-initiated noncompliance issues
Risk-based initiated noncompliance issues
Deferred regulatory compliance issues (1135 waivers)
SFM2 | Were maintenance strategies altered or deferred?
Preventive maintenance tasks altered or deferred
Zone maintenance tasks altered or deferred
Call-in request tasks altered or deferred
Are all supplies and parts returned to PAR LEVELS?
Are all supplies and parts returned to PAR LEVELS?
SFM3 | Has there been damage or alterations to the built environment?
Damage due to creating negative pressure rooms
Damage due to renovations
Damage due to patient equipment relocation
Damage due to wear and tear
Damage due to deferment
Damage due to anteroom construction
Damage to duct work due to HVAC changes
SFM4 | Were ventilation or HVAC systems modified?
To create negative pressure patient rooms
To create negative pressure COVID-19 units
Closure of dampers or diffusers
Have airflows or ventilation requirements been modified?
Has the rebalancing of entire AHU's been considered and if so has consideration to updating to the appropriate requirements to ASHRAE/ASHE 170 standards been incorporated?
Do filters need to be changed?
Changes to fan speeds
SFM5 | Returning spaces to normal operations
Are there any deferred maintenance issues that would prohibit opening for functional or safety reasons?
Has a process to track individual spaces for clearance been established?
Are there any remaining pandemic areas in the facility that need to be managed?
Is the building accessible and have restricted entrances been returned to normal operations conditions?
Will any post-COVID pathways be developed that will require renovations or physical changes?
Will separate entrances, public areas and treatment areas be needed for COVID-19 suspect patients and NCC patients?
Are external staging or surge treatment areas safe for return to normal operations and vehicular traffic?
Are SOPs in place to manage COVID units going forward?
Has normal bed capacity been restored?
Have rooms been terminally cleaned or vacated for 72 hours?
Has an environmental assessment of any closed units been completed?
Has water been flushed and tested per your water management program if units were closed or under utilized?
Has added signage been removed or properly modified?
Are any modifications to windows, doors and corridors returned to normal functionality?
Are trash, storage supplies, biomedical materials all safely stored from public access?
SFM6 | Staffing for recovery efforts
Prioritize staffing needs with C-suite
Were FM staff furloughed during the response?
Were FM staff reassigned during the response?
Has a hiring freeze been initiated?
Have staffing levels been restored?
Will recovery efforts require an increase in staffing?
Is there adequate PPE for staff?
Has here been an assessment of staff condition (PTSD) if impacted by pandemic?
Will additional staffing be required to reestablish regulatory compliance issues?
Will additional staffing be required to reestablish maintenance strategies?
Are vendors capable of providing needed support in your area?
Are SOPs in place for accessing previously contaminated areas until cleared?
SFM7 | Alternate Care Sites (ACSs)
Have ACSs been vacated?
Are all hazardous materials, equipment and medical systems removed?
Is facility returned to normal operations?
Have operations been returned to the owner?
SFM8 | Sustainability Measures
Were energy measures modified for the pandemic?
Were buildings/systems set back or turned off?
Has demand usage been modified?
Have room schedules or ventilation been modified?
Have energy conservation measures been modified?
Have water conservation measures been modified?
Have waste conservation measures been modified?
Should energy procurement strategies be reevaluated?
Were there any changes in the fleet management strategy?
SFM9 | Post-COVID Changes
Will any post-COVID pathways be developed that will require renovations or physical changes?
Will separate entrances, public areas and treatment areas needed for COVID-19 suspect patients and NCC patients?
Is your organization creating operational changes post-COVID for equipment or materials stockpiles that will impact facilities?
Will hospital be establishing enhanced security, public control and infectious disease policies and procedures that may require staffing changes or training?
SFM10 | Finance and Licensure
Has access to funding for needed recovery activities been established?
Adoption of telehealth to broaden applicable diagnoses (primary and specialty care)
Does the AHJ need to be notified before returning beds to normal operation?
SFM11 | Administrative Issues
Schedule a lessons learned to capture valuable data
Update your emergency plan as required
Reevaluation and reprioritization of capital expenditures
Immediate optimization of all procedural capacity and operations
Recognize staff
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## Immediate Term
IN: Immediate Needs
Assessment of projected immediate needs over several weeks to months.
Determine if the facility department is prepared to accomplish the following
# | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
IN1 | Workload Management
Staffing level established
Workload schedule developed
Division of workload into COVID care areas (CCAs) and non-COVID care areas (NCCs)
Establishment of CCA & NCC staffing teams
Weekly breakdown of workload
Assignment of daily workload to staff
IN2 | Critical Infrastructure Restoration and Repair
Essential Electrical System
Medical Gas System
Normal Power System
HVAC System
Fire Alarm System
Automatic Fire Suppression System
IT Systems
Wireless Systems
Access Control Systems
Telecommunications System
Nurse Call System
IN3 | Demobilization of Implemented Changes
Obtain clearance to demobilize
Allow proper clearance time of space for airborne contaminate per CDC ACH Airborne Contaminant Table
Terminal cleaning of space
ILSM/ICRA completed
Demobilization performed
Deferred maintenance and ITM completed
Space/room refreshing completed
Turnover of space/room for usage
IN4 | Facility and Infrastructure Requirements
Continued demobilization activities and changes to the facility
Additional provisions for debris and waste management
Need for environmental remediation and cleanup
Need for storage of patient belongings and personal items
Need for temporary morgues
Modifications required for supply delivery and storage
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## Short Term
STN: Short-Term Needs
Assessment of projected short-term needs over several weeks to months.
Determine if the facility department is prepared to accomplish the following
# | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
STN1 | Has a method to monitor impacts been established?
Impacts from staffing needs
Impacts from space utilization
Impacts from additional utility needs
Impact from contracted services, staffing or consultation
STN2 | Has a budget been established for assessed impacts?
Staffing costs
Space usage and/or altered utilization
Additional utility costs
Cost for contracted services, staffing and consultation
STN3 | Facility and Infrastructure Requirements
Continued demobilization activities and changes to the facility
Additional provisions for debris and waste management
Need for environmental remediation and cleanup
Need for storage of patient belongings and personal items
Need for temporary morgues
Modifications required for supply delivery and storage
STN4 | Additional Staffing Requirements
Ongoing training, reorientation of furloughed FM staff
Ongoing training of contracted or temporary staff
STN5 | Has access to funding for short-term recovery needs been established?
STN6 | Has a method been created to monitor all financial reimbursements, contracts management and disbursement of funds?
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## Long Term
LTN: Long-Term Needs
Assessment of projected long-term needs over several months to a year or more.
Determine if the facility department is prepared to accomplish the following
# | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
LTN1 | After Action Report
Incident overview
Analysis of incident
Strengths of response
Document corrective action plans
Develop improvement plans
Document costs and resources allocated to incident
Update emergency management plan
LTN2 | Implementation of Corrective Actions and Improvement Plans
LTN3 | Lessons Learned
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## ITM
ITM: Inspection, Testing and Maintenance
Assessment of the current status projected over a minimum of the next 30 days.
Determine if the facility department is prepared to accomplish the following | [10 empty] | Service vendor personnel not available
Area of Consideration |  |  |  | Waiver Adopted |  |  |  |  | Reason for Deferral (pull down menu) | Observations/Comments/Actions(*) | Service vendor personnel not allowed inside facility
|  |  |  | Yes | Date Last Completed | Waiver Extension Time | Waiver End Date | Date Testing Due |  |  | HFM staff engaged in emergency and surge operations
# | Fire Protection and Suppression Testing and Inspection | [9 empty] | Limited HFM staff allowed in facility
ITM1 |  | Supervisory Signals | [8 empty] | ITM will cause disruption of critical airflows
|  |  | Control Valves |  |  | 60 Days |  |  |  |  | ITM will cause disruption of patient care
|  |  | Pressure Supervisory |  |  | 60 Days |  |  |  |  | PPE limitations
|  |  | Water Level Supervisory |  |  | 60 Days |  |  |  |  | ITM parts/materials not available
|  |  | Water Temperature Supervisory |  |  | 60 Days |  |  |  |  | Other
|  |  | Room Temperature Supervisory |  |  | 60 Days
ITM2 |  | Water Flow Devices |  |  |  | 60 Days
ITM3 |  | Valve Tamper Switches |  |  |  | 60 Days
ITM4 |  | Initiating Devices
|  |  | Duct, Heat and Smoke Detectors |  |  | 60 Days
|  |  | Manual Fire Alarm Boxes |  |  | 60 Days
|  |  | Electromechanical Releasing Devices |  |  | 60 Days
ITM5 |  | Notification Devices
|  |  | Audible |  |  | 60 Days
|  |  | Visible |  |  | 60 Days
|  |  | Off-Site Notification |  |  | 60 Days
ITM6 |  | Fire Pump
|  |  | Electric Motor-Driven No-Flow |  |  | Not Waived
|  |  | Diesel Engine-Driven No-Flow |  |  | Not Waived
|  |  | Fire Pump Under Flow |  |  | 60 Days
ITM7 |  | Water Storage Tank Alarms
|  |  | High Level |  |  | 60 Days
|  |  | Low Level |  |  | 60 Days
|  |  | Low Water Temperature |  |  | 60 Days
|  |  | Will recovery efforts require an increase in staffing? |  |  | 60 Days
ITM8 |  | Main Drain Test |  |  |  | 60 Days
ITM9 |  | Fire Department Connections |  |  |  | 60 Days
ITM10 |  | Standpipe Flow Test |  |  |  | 60 Days
ITM11 |  | Kitchen Auto-Extinguishing System |  |  |  | 60 Days
ITM12 |  | Gaseous Extinguishing Systems |  |  |  | 60 Days
ITM13 |  | Portable Fire Extinguisher Inspections |  |  |  | Not Waived
ITM14 |  | Portable Fire Extinguisher Maintenance |  |  |  | 60 Days
ITM15 |  | Fire Hose Hydrostatic Test |  |  |  | 60 Days
ITM16 |  | Fire and Smoke Damper Testing |  |  |  | 180 Days
ITM17 |  | Automatic Smoke-Detection Shutdown Devices |  |  |  | 60 Days
ITM18 |  | Sliding and Rolling Fire Doors |  |  |  | 60 Days
ITM19 |  | Inspection and Testing of Rated Door Assemblies |  |  |  | 60 Days
ITM20 |  | Elevator Fire Recall |  |  |  | Not Waived
| Utility Systems |  |  | Yes | Date Last Completed | Waiver Extension Time | Date Testing Due
ITM21 |  | Utility Management Program
|  |  | Program Review |  |  | Not Waived
|  |  | High-Risk Utility System Components |  |  | 30 Days
|  |  | Non-High-Risk Utility System Components |  |  | 60 Days
|  |  | AEM Utility System Components |  |  | 60 Days
|  |  | Critical Care Area Control of Airborne Contaminants |  |  | 30 Days
|  |  | Infection Control Utility System Components |  |  | 30 Days
ITM22 |  | Water
|  |  | Water Management Program Review |  |  | Not Waived
|  |  | Minimize Pathogenic Biological Agents |  |  | Not Waived
|  |  | Control Measure Verification |  |  | Not Waived
ITM23 |  | Engineered Smoke Control Systems |  |  |  | 60 Days
ITM24 |  | Electrical Systems
|  |  | Hospital-Grade Receptacles |  |  | 90 Days
|  |  | Non-Hospital-Grade Receptacles |  |  | 90 Days
|  |  | GFCI Receptacles |  |  | 90 Days
|  |  | Line Isolation Monitors |  |  | 60 Days
| Emergency Power Systems |  |  | Yes | Date Last Completed | Waiver Extension Time | Date Testing Due
ITM25 |  | Essential Electrical System
|  |  | Weekly Inspection |  |  | 60 Days
|  |  | Monthly Generator Test |  |  | Not Waived
|  |  | Annual Generator Test |  |  | Not Waived
|  |  | Triennial Generator Test |  |  | 60 Days
|  |  | Fuel Quality Test |  |  | 60 Days
|  |  | Automatic Transfer Switch |  |  | Not Waived
ITM26 |  | SEPSS
|  |  | Level 1 Monthly Test |  |  | 60 Days
|  |  | Level 2 Quarterly Test |  |  | 60 Days
|  |  | Level 1 & 2 Annual Test |  |  | 60 Days
ITM27 |  | Emergency Lighting Systems
|  |  | Battery Emergency Lights Monthly Test |  |  | 60 Days
|  |  | Battery Emergency Lights Annual Test |  |  | 60 Days
|  |  | Exit Sign Monthly Inspection |  |  | 60 Days
| Medical Gas and Vacuum Systems |  |  | Yes | Date Last Completed | Waiver Extension Time | Date Testing Due
ITM28 |  | Have medical gas systems that were modified been returned to appropriate condition and certified? |  |  |  | 60 Days
|  | Medical Gas Testing, Inspection and Maintenance Up to Date |  |  |  | 60 Days
| Medical Equipment |  |  | Yes | Date Last Completed | Waiver Extension Time | Date Testing Due
ITM29 |  | Medical Equipment Management Program
|  |  | Program Review |  |  | Not Waived
|  |  | High-Risk Equipment PM |  |  | 30 Days
|  |  | Non-High-Risk Equipment PM |  |  | 60 Days
|  |  | AEM Equipment PM |  |  | 60 Days
|  |  | Sterilizer Testing and PM |  |  | Not Waived
|  |  | Hyperbaric Facilities PM |  |  | 60 Days
|  |  | Nuclear Medicine Equipment Annual Testing |  |  | 60 Days
| Life Safety |  |  | Yes | Date Last Completed | Waiver Extension Time | Date Testing Due
ITM30 |  | Fire Drills
|  |  | Health Care Occupancy |  |  | 30 Days
|  |  | Business Occupancy |  |  | 30 Days
ITM31 |  | Construction, Repair and Improvement Operations
|  |  | Daily Inspections |  |  | Not Waived
ITM32 |  | Means of Egress Continuously Maintained Free
|  |  | Aisles |  |  | 0 Days
|  |  | Passageways |  |  | 0 Days
|  |  | Corridors |  |  | 0 Days
|  |  | Exit Discharges |  |  | 0 Days
|  |  | Exit Locations |  |  | 0 Days
|  |  | Exit Access |  |  | 0 Days
ITM33 |  | Features to protect from hazards of fire and smoke
|  |  | Fire Barrier Penetrations |  |  | 30 Days
|  |  | Smoke Barrier Penetrations |  |  | 30 Days
|  |  | ABHR Placement and Capacity |  |  | 30 Days
|  |  | ABHR Operation and Protection from Inappropriate Use |  |  | 30 Days
|  |  | ABHR Storage |  |  | 30 Days
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## Sustainability
SM: Sustainability Measures
Assessment of projected sustainability needs over several weeks to months.
Determine if the facility department is prepared to accomplish the following
# | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
SM1 | Energy Data Trending and Tracking - Energy to Care Dashboard
Energy data up to date
Date flagged for event beginning in comments on energy performance graphs
Evaluate trend data
SM2 | Scheduling
Medical office building schedules verified
Thermostats set to balance efficiency and comfort
Room ventilation schedule reassessed
SM3 | Control
Evaluate temperature and airflow settings
Evaluate operating room airflow settings
Optimize chiller plant performance
Evaluate peak shaving and load shifting
Evaluate demand control kitchen ventilation
Evaluate air handling unit duct stat pressure reset
Evaluate air handling unit supply air temperature reset
Evaluate air handling unit discharge air temperature reset
SM4 | Repair and Maintenance
Perform economizer maintenance
Verify VFD status
Check thermal envelope
Evaluate compressed air leaks
Perform preventative maintenance of major HVAC equipment
SM5 | Evaluate steam traps
SM6 | Eliminate water fixture leaks
SM7 | Eliminate equipment and piping leaks
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## New Norm
NN: New Normal
Assessment of projected needs to be considered when considering opening for non-pandemic care.
Determine if the facility department is prepared to accomplish the following
# |  | Area of Consideration |  | Yes | No | Observations/Comments/Actions(*)
NN1 | Waiting/Public Areas
Are hand-washing stations available?
Are ABHR stations accessible?
Determine if PPE will be provided to visitors
Has a plan been established to maintain social distancing?
Maintain 6 ft. distance between visitors in check-in line
Maintain 6 ft. distance between visitors in seating area
Limit the capacity of visitors in the seating area
Limit the capacity of visitors in public restrooms
Limit the capacity of visitors on elevators
Has a plan been established to sanitize or remove high-touch areas?
Door Knobs/Frames
Chairs/Countertops/Tables
Phone Charging Stations
Water Fountains
Sink Handles/Paper Towel Dispensers/Toilet Handles
Have areas been established to segregate infectious patients from noninfectious patients?
Separate presumptive-positive patients, patients with fever, or patients who have been in contact with positive COVID19 cases in the past 14 days
Establish separate waiting areas if possible
Establish separate entrances if possible
NN2 | Cafeteria/Dining
Are hand-washing stations available?
Are ABHR stations accessible?
Determine if PPE will be provided to visitors
Has a plan been established to maintain social distancing?
Maintain 6 ft. distance in check-out line
Maintain 6 ft. distance while dining
Limit the capacity of people
Protection between customer and cafeteria staff
Has a plan been established to sanitize or remove high-touch areas?
Cash Registers
Chairs/Tables
Utensil Dispensers
Beverage Dispensers
Will serving methods need to be modified?
Assess current self-serve buffet and beverage options
Assess the need for shields and sneeze-guards
NN3 | Inpatient Units
Are hand-washing stations available?
Are ABHR stations accessible?
Determine if PPE will be provided to visitors
Has a plan been established to limit visitor interaction?
Limit the number of visitors per patient room
Visitor screening
Define the areas that visitors are allowed to wait
Has a plan been established to maintain social distancing during patient discharge?
NN4 | Outpatient Units
Are hand-washing stations available?
Are ABHR stations accessible?
Determine if PPE will be provided to visitors
Has a plan been established to limit visitor interaction?
Limit the number of guests per patient
Visitor screening
Define the areas that visitors are allowed to wait
Determine if waiting in vehicles is possible
Define process for check-in and notifying patients when the physician is ready to see them, if waiting out of earshot
Have areas been established to segregate "wellness checks" from "sick visits"?
Establish separate waiting areas if possible
Establish separate entrances if possible
Is telehealth an option?
NN5 | Surgery Areas
Has a plan been established for day surgery patient admissions and discharges?
Need to minimize exposure for high-risk patients
Determine if PPE will be provided to visitors
NN6 | Labor and delivery
Are hand-washing stations available for visitors?
Are ABHR stations accessible?
Determine if PPE will be provided to visitors
Has a plan been established to limit visitor interaction?
Limit the number of visitors per patient room
Visitor screening
Define the areas that visitors are allowed to wait
Has a plan been established to maintain social distancing during patient discharge?
NN7 | Clinical Laboratory
Has a plan been established for staff who come in contact with patients?
Define process for sanitizing specimen containers
NN8 | Imaging/Radiology
Has a plan been established to limit visitor interaction?
Limit the number of visitors per patient room
Visitor screening
Define the areas that visitors are allowed to wait
NN9 | Pharmacy
Will staff go into patient units to restock medication rooms?
Define process for sanitizing medication containers
NN10 | Support Services
Has a plan been established to determine which staff can stay working from home vs. staff that needs to start working in facility again?
Has a plan been established for screening employees?
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Health Care Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
© 2020 The American Society for Health Care Engineering of the American Hospital Association
Disclaimer: Noncommercial use of original content in this document is granted to ASHE Members unless otherwise indicated. To request permission to reproduce ASHE content, please-mail ASHE at ashe@aha.org. This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.